RIPPŌTAI

ARCHITECTURE · INTERIORS · TURNKEY

CRUCIAL WORKS LIST

THE ITEMS THAT CANNOT BE MISSED — TRACKED UNTIL CLOSED

This document has two parts. Part 1 is the running master list — every critical, high-risk or easy-to-miss item on the project, open until closed. Part 2 is a short daily/weekly checklist pulled from Part 1, for the items due for attention right now.

01   Master List — Running Register

Every item that cannot be missed, added the moment it is identified. Never deleted — marked Closed and kept for the record.

| Ref | Item | Why It’s Crucial | Owner | Target Date | Status |
| --- | --- | --- | --- | --- | --- |
| 1 | Soil / water table test before excavation | Wrong foundation depth is unfixable once poured | Site Engineer |  | Open |
| 2 | Structural clearance before demolition of load-bearing wall | Irreversible if done on a verbal go-ahead | Principal Architect |  | Open |
| 3 | Waterproofing ponding test, 48 hrs, before tiling | Root cause of most post-handover disputes | Site Engineer |  | Open |
| 4 | BOQ frozen before execution mobilises | Every cost overrun traces back to a skipped freeze | Finance |  | Open |
| 5 | Society NOC / security deposit, if required | Site access can be stopped mid-project without it | Admin Coordinator |  | Open |
| 6 | Long-lead material ordered against site-need date | A missed order stalls the whole floor, not one room | Material Procurement |  | Open |

STATUS KEY Open — not yet actioned In Progress — being worked on Closed — verified complete

02   Daily / Weekly Checklist

Items due for attention this week, pulled from Part 1. Filled fresh each cycle — this table does not carry over automatically.

| Ref (from Part 1) | Item | Checked Today? | Follow-up Needed | Checked By |
| --- | --- | --- | --- | --- |
| 3 | Waterproofing ponding test, Bathroom 02 | In progress | Recheck tomorrow AM | Site Engineer |